CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION

STAFFORD, VIRGINIA

# RESERVE STUDY 2006

1.  In accordance with the Code of Virginia, Title 55, Chapter 26, Section 55-514.1, the Board of Directors shall:

a.  Conduct at least once every five years a study to determine the necessity and amount of reserves required to repair, replace and restore the capital components;

b.  Review the results of that study at least annually to determine if reserves are sufficient; and,

c.  Make any adjustments the Board of Directors deems necessary to maintain reserves, as appropriate.

2.  To the extent that the reserve study conducted in accordance with this section indicates a need to budget for reserves, the Association budget shall include, without limitation:

a.  The current estimated replacement cost, estimated remaining life and estimated useful life of the capital components;

b.  As of the beginning of the fiscal year for which the budget is prepared, the current amount of accumulated cash reserves set aside, to repair, replace or restore capital components and the amount of the expected contribution to the reserve fund for that year; and

c.  A General statement describing the procedures used for the estimation and accumulation of cash reserves pursuant to this section and the extent to which the Association is funding its reserve obligations consistent with the study currently in effect.

3.  Cash reserves may or may not be adequate to meet all of the future needs for major repairs and replacements.  If additional funds are needed, the Cabin Creekwood Homeowner’s Association has the right to increase regular assessments, pass special assessments, or delay major repairs and replacements until funds are available.

4.  Cash reserves shall be used for maintenance, repair and replacement of capital components located within the common areas of the Cabin Creekwood community.  Reserves shall be maintained separately from other Association funds.  However, upon approval by all of the Board of Directors, the Board may borrow funds from the cash reserves to meet high seasonal demands on the regular operating fund or to meet emergency expenses.  Funds borrowed to meet these expenses shall be repaid within one year either from regular operating funds or from special assessments.

CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION

STAFFORD, VIRGINIA

# RESERVE STUDY 2006

5.  The Board of Directors has recommended and approved this 30-year plan to meet the maintenance, repair and replacements with regular and adequate contributions, adjusted by estimated inflation and interest earned on reserves, to meet the maintenance, repair and replacement schedule.

6.  An amount of not less than $5,000 will be contributed yearly in the Association’s money market account for the purpose of funding maintenance, repair and replacements of capital components.

Approved on _______ of _____________________, 2006

____________________________________

JUDITH PELOQUIN, President

____________________________________

PRIYANTHA KALUPAHANA, Vice-President

____________________________________

PHILLIP BATES, Treasurer

____________________________________

BARBARA STEELE, Secretary

2

## CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION

# RESERVE STUDY 2006

| COMPONENT | ORIGINAL DATE | ORIGINAL COST | LIFE CYCLE YRS | REPAIR/ REPLACE DATES |  | ESTIMATED COST |
| --- | --- | --- | --- | --- | --- | --- |
| Entrance Sign to Community Currently constructed of wood | 1990 | N/A | 10 | 2005 |  | $ 200 |
|  |  |  |  | 2015 |  | $ 800 |
|  |  |  |  | 2025 |  | $ 1,500 |
| Fence (Retention Pond Area) | 1990 | 4,710 | 15-20 | 2006 |  | $ 4,500 |
|  |  |  |  | 2021 |  | $ 5,500 |
|  |  |  |  | 2036 |  | $ 7,500 |
| Fire Lane Repainting | 1990 | N/A | 4 Yrs | 2002 |  | $ 1,700 |
|  |  |  |  | 2006 |  | $ 2,000 |
|  |  |  |  | 2010 |  | $ 2,200 |
|  |  |  |  | 2014 |  | $ 2,400 |
|  |  |  |  | 2018 |  | $ 2,600 |
|  |  |  |  | 2022 |  | $ 2,800 |
|  |  |  |  | 2026 |  | $ 3,000 |
|  |  |  |  | 2030 |  | $ 3,200 |
|  |  |  |  | 2034 |  | $ 3,400 |
| Postal Units – Type 3 w/16 units (8) Units include pedestal and lock box Contact USPS for installation Estimated cost includes installation | 1990 | N/A | 15-20 | 2007 |  | $ 3,500 |
|  | 2003 | 1,200 ea |  | 2008 |  | $ 4,000 |
|  |  |  |  | 2011 |  | $ 4,500 |
|  |  |  |  | 2013 |  | $ 4,700 |
|  |  |  |  | 2022 |  | $ 5,000 |
|  |  |  |  | 2024 |  | $ 5,500 |
|  |  |  |  | 2026 |  | $ 5,750 |
|  |  |  |  | 2028 |  | $ 6,000 |

| COMPONENT | ORIGINAL DATE | ORIGINAL COST | LIFE CYCLE YRS | REPAIR/ REPLACE DATES |  | ESTIMATED COST |
| --- | --- | --- | --- | --- | --- | --- |
| Roads – Resurface/Reseal | 1989 | N/A | 15-20 | 2006 |  | $ 13,500 |
|  |  |  |  | 2020 |  | $ 18,000 |
| Sidewalk and Curb Repairs | 1989 | N/A | 15-20 | 2007 |  | $ 3,000 |
|  |  |  |  | 2011 |  | $ 5,000 |
|  |  |  |  | 2016 |  | $ 6,000 |
|  |  |  |  | 2021 |  | $ 6,500 |
|  |  |  |  | 2026 |  | $ 8,000 |
|  |  |  |  | 2031 |  | $ 8,500 |
| Signs and Posts Replace and/or Repair 8 ft posts @$20 ea; 6 STOP SIGNS @$40 ea; 3 SLOW CHILDREN AT PLAY @$24 ea; 5 SPEED LIMIT @$24 ea; 8 POLICE YOUR DOGS @$24 ea; 12 NO PARKING FIRE LANES/TOWING @$15 ea; 3 NO TREASPASSING @$26 ea. Costs do not include installation | 1990 | N/A | 5-8 | 2007 |  | $ 200 |
|  |  |  |  | 2012 |  | $ 250 |
|  |  |  |  | 2017 |  | $ 300 |
|  |  |  |  | 2022 |  | $ 350 |
|  |  |  |  | 2027 |  | $ 400 |
|  |  |  |  | 2032 |  | $ 500 |
|  |  |  |  | 2036 |  | $ 550 |
| Storm Drains – Cleaning (16) Synder’s Pipe Cleaning (540) 374-9293 | 1989 | N/A | 5 | 2006 |  | $ 1,600 |
|  |  |  |  | 2011 |  | $ 1,800 |
|  |  |  |  | 2016 |  | $ 2,000 |
|  |  |  |  | 2021 |  | $ 2,200 |
|  |  |  |  | 2026 |  | $ 2,400 |
|  |  |  |  | 2031 |  | $ 2,600 |
|  |  |  |  | 2036 |  | $ 2,800 |

| COMPONENT | ORIGINAL DATE | ORIGINAL COST | LIFE CYCLE | REPAIR/ REPLACE DATES |  | ESTIMATED COST |
| --- | --- | --- | --- | --- | --- | --- |
| Streetlights (15) Repair/Replace Streetlights (18) Contract Virginia Power for Installation/Repair | 1992 | N/A | 25-30 | 2022 |  | $ 8,000 |
|  | 2002 | $19,000 |  | 2027 |  | $ 5,000 |
| Street Signs (5 double @$100 ea; 1 single @$70 ea; 6 Poles @$40 ea) BLUERIDGE CT/CABIN CT; CABIN CT/EATON CT APPALACHIAN DR/CABIN CT; EUSTACE RD/APPALACHIAN DR CABIN CT/EUSTACE RD; STAUNTON CT Costs do not include installation | 1990 | N/A | 10-15 | 2008 |  | $ 1,000 |
|  |  |  |  | 2023 |  | $ 2,000 |
|  |  |  |  | 2033 |  | $ 2,500 |

Alternate

Balance in Reserve Account (January 2006)     $  32,400.00        $  32,400.00

Proposed Deposits of $5,000 30-Year Period    + 155,000.00          155,000.00

*Proposed Interests for 30-Year Period        +  18,600.00           18,600.00

3,850.00 (2004 Deficiency)

Total Reserve Funds      $ 206,000.00        $ 209.850.00

Total Estimated Costs 30-Year Period          $ 185,300.00          185,300.00

$  20,700.00        $  24,550.00

* Interest based on a yearly estimated balance of $20,000.00

30-YEAR PLAN TO MEET THE MAINTENANCE, REPAIR AND REPLACEMENT SCHEDULE

| COMPONENT | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Entrance Sign |  |  |  |  |  |  |  |  |  | 800 |  |
| Fence (Retention) | 4,500 |  |  |  |  |  |  |  |  |  |  |
| Fire Lane | 2,000 |  |  |  | 2,200 |  |  |  | 2,400 |  |  |
| Postal Units |  | 3,500 | 4,000 |  |  | 4,500 |  | 4,700 |  |  |  |
| Roads | 13,500 |  |  |  |  |  |  |  |  |  |  |
| Sidewalks/Curbs |  | 3,000 |  |  |  | 5,000 |  |  |  |  | 6,000 |
| Signs/Posts |  | 200 |  |  |  |  | 250 |  |  |  |  |
| Storm Drains | 1,600 |  |  |  |  | 1,800 |  |  |  |  | 2,000 |
| Streetlights |  |  |  |  |  |  |  |  |  |  |  |
| Street Signs |  |  | 1,000 |  |  |  |  |  |  |  |  |
| TOTALS | 21,600 | 6,700 | 5,000 |  | 2,200 | 11,300 | 250 | 4,700 | 2,400 | 800 | 8,000 |
| End of YR Balance | 16,400 | 15,300 | 15,900 | 21,500 | 24,900 | 19,200 | 24,550 | 25,450 | 28,650 | 33,450 | 31,050 |

| COMPONENT | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Entrance Sign |  |  |  |  |  |  |  |  | 1,500 |  |  |
| Fence (Retention) |  |  |  |  | 5,500 |  |  |  |  |  |  |
| Fire Lane |  | 2,600 |  |  |  | 2,800 |  |  |  | 3,000 |  |
| Postal Units |  |  |  |  |  | 5,000 |  | 5,500 |  | 5,750 |  |
| Roads |  |  |  | 18,000 |  |  |  |  |  |  |  |
| Sidewalks/Curbs |  |  |  |  | 6,500 |  |  |  |  | 8,000 |  |
| Signs/Posts | 300 |  |  |  |  | 350 |  |  |  |  | 400 |
| Storm Drains |  |  |  |  | 2,200 |  |  |  |  | 2,400 |  |
| Streetlights |  |  |  |  |  | 8,000 |  |  |  |  | 5,000 |
| Street Signs |  |  |  |  |  |  | 2,000 |  |  |  |  |
| TOTALS | 300 | 2,600 |  | 18,000 | 14,200 | 16,150 | 2,000 | 5,500 | 1,500 | 19,710 | 5,400 |
| End of YR Balance | 36,350 | 39,350 | 44,950 | 32,550 | 23,950 | 13,400 | 17,000 | 17,100 | 21,200 | 7,650 | 7,850 |

| ### COMPONENT | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Entrance Sign |  |  |  |  |  |  |  |  |  |  |
| Fence (Retention) |  |  |  |  |  |  |  |  | 7,500 |  |
| Fire Lane |  |  | 3,200 |  |  |  | 3,400 |  |  |  |
| Postal Units | 6,000 |  |  |  |  |  |  |  |  |  |
| Roads |  |  |  |  |  |  |  |  |  |  |
| Sidewalks/Curbs |  |  |  | 8,500 |  |  |  |  |  |  |
| Signs/Posts |  |  |  |  | 500 |  |  |  | 550 |  |
| Storm Drains |  |  |  | 2,600 |  |  |  |  | 2,800 |  |
| Streetlights |  |  |  |  |  |  |  |  |  |  |
| Street Signs |  |  |  |  |  | 2,500 |  |  |  |  |
| TOTALS | 6,000 |  | 3,200 | 11,100 | 500 | 2,500 | 3,400 |  | 10,850 |  |
| End of YR Balance | 7,450 | 13,050 | 15,450 | 9,950 | 15,050 | 18,150 | 20,359 | 25,950 | 20,700 |  |

End of YR balance: $5,000 deposit; $600 Interest; Yearly Expenses