CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION

STAFFORD, VIRGINIA

# RESERVE STUDY 2010 ADDENDUM 2013

1.  In accordance with the Code of Virginia, Title 55, Chapter 26, Section 55-514.1, the Board of Directors shall:

a.  Conduct at least once every five years a study to determine the necessity and amount of reserves required to repair, replace and restore the capital components;

b.  Review the results of that study at least annually to determine if reserves are sufficient and

c.  Make any adjustments the Board of Directors deems necessary to maintain reserves, as appropriate.

2.  To the extent that the reserve study conducted in accordance with this section indicates a need to budget for reserves, the Association budget shall include, without limitation:

a.  The current estimated replacement cost, estimated remaining life and estimated useful life of the capital components;

b.  As of the beginning of the fiscal year for which the budget is prepared, the current amount of accumulated cash reserves set aside, to repair, replace or restore capital components and the amount of the expected contribution to the reserve fund for that year; and

c.  A General statement describing the procedures used for the estimation and accumulation of cash reserves pursuant to this section and the extent to which the Association is funding its reserve obligations consistent with the study currently in effect.

3.  Cash reserves may or may not be adequate to meet all of the future needs for major repairs and replacements.  If additional funds are needed, the Cabin Creekwood Homeowner’s Association has the right to increase regular assessments, pass special assessments, or delay major repairs and replacements until funds are available.

4.  Cash reserves shall be used for maintenance, repair and replacement of capital components located within the common areas of the Cabin Creekwood community.  Reserves shall be maintained separately from other Association funds.  However, upon approval by all of the Board of Directors, the Board may borrow funds from the cash reserves to meet high seasonal demands on the regular operating fund or to meet emergency expenses.  Funds borrowed to meet these expenses shall be repaid within one year either from regular operating funds or from special assessments.

CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION

STAFFORD, VIRGINIA

# RESERVE STUDY 2010 ADDENDUM 2013

5.  The Board of Directors has recommended and approved this 30-year plan to meet the maintenance, repair and replacements with regular and adequate contributions, adjusted by estimated inflation and interest earned on reserves, to meet the maintenance, repair and replacement schedule.

6.  An amount of not less than $5,000 will be contributed yearly in the Association’s money market account for the purpose of funding maintenance, repair and replacements of capital components.

7.  In accordance with the Code of Virginia, Title 55, Chapter 26, Section 55-514.1, the Board of Directors has reviewed, made adjustments and approved the attached Reserve Study 2010 Addendum 2012.

on _______ of _____________________, 2013

______________________________

BARBARA STEELE, President

______________________________

ELIZABETH FERRELL, Vice-President

______________________________

JUDITH PELOQUIN, Treasurer/Secretary

______________________________

KEN WERNER, Member at Large

______________________________

MARIA KILLIAN, Member at Large

2

## CABIN CREEKWOOD HOMEOWNER’S ASSOCIATION 30-YR PLAN

# RESERVE STUDY 2010 ADDENDUM OF 2013

Amendments have been made and are highlighted in RED

| COMPONENT | ORIGINAL DATE | ORIGINAL COST | LIFE CYCLE YRS | REPAIR/ REPLACE DATES | D O N E |  |  | ESTIMATED COST | ACTUAL COST |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMERGENCY REPAIRS/MAINTENANCE |  |  |  |  |  |  |  |  |  |  |
| Weather related incidents not covered by Insurance policy | 2011 |  |  | 2011-2039 |  |  |  | $ 2,000 |  |  |
| ENTRANCE SIGN TO COMMUNITY |  |  |  |  |  |  |  |  |  |  |
| Currently constructed of wood Recommend replacement 2016 – Stone Life cycle 30 yrs, costs would lower | 1990 | N/A | 10 | R 2011 |  |  |  | $ 4,500 | N/R |  |
|  |  |  |  | M 2016 |  |  |  | $ 4,500 |  |  |
|  |  |  |  | M 2021 |  |  |  | $ 200 |  |  |
|  |  |  |  | M 2026 |  |  |  | $ 300 |  |  |
|  |  |  |  | M 2031 |  |  |  | $ 300 |  |  |
|  |  |  |  | M 2036 |  |  |  | $ 600 |  |  |
| RETENTION POND (Pond/Fence) |  |  |  |  |  |  |  |  |  |  |
| M – Maintenance R – Replacement/Repairs/Maintenance/Inspection Major repairs completed 2009: $8,425.00 Inspection: $300.00 Beaver Control: $495.00 | 1990 | $ 4,710 | 15-20 | M/R 2013 |  |  |  | $ 30,000 |  |  |
|  |  |  |  | M/R 2027 |  |  | $ 35,000 |  |  |  |
| FENCE (LOCATED ALONG EUSTACE ROAD) |  |  |  |  |  |  |  |  |  |  |
| M – Maintenance R – Replacement/Repairs/Maintenance Last painted in 2008 | 1989 | N/A | 10 | M 2012 |  |  |  | $ 200 |  |  |
|  |  |  |  | M 2018 |  |  |  | $ 200 |  |  |
|  |  |  |  | M/R 2024 |  |  |  | $ 3,000 |  |  |
|  |  |  |  | M 2030 |  |  |  | $ 500 |  |  |
|  |  |  |  | M 2036 |  |  |  | $ 400 |  |  |
| POSTAL UNITS Type 3 w/16 units (9) |  |  |  |  |  |  |  |  |  |  |
| Units (Pedestal and lock box), and installation Approximate cost each w/installation: $1,400 | 1990 | N/A | 15-20 | (2) 2018 |  |  |  | $ 3,000 |  |  |
|  |  |  |  | (2) 2022 |  |  |  | $ 4,000 |  | 4,000 4,000 |
|  |  |  |  | (2) 2034 |  |  | $ 4,000 |  |  |  |
| ROADS |  |  |  |  |  |  |  |  |  |  |
| Repair/Resurface/Seal/Speedbumps/Fire Lanes Last repaired/resurfaced 2006: $15,790 Recommend repair to roads by sections rather than complete community (Appalachian, Cabin, Blueridge, Eaton, Staunton) | 1989 | N/A | 15-20 | A 2014 |  |  |  | $ 18,000 |  |  |
|  |  |  |  | C 2015 |  |  |  | $ 25,000 |  |  |
|  |  |  |  | B 2016 |  |  |  | $ 20,000 |  |  |
|  |  |  |  | E 2017 |  |  |  | $ 20,000 |  |  |
|  |  |  |  | S 2018 |  |  |  | $ 22,000 |  |  |

| COMPONENT | ORIGINAL DATE | ORIGINAL COST | LIFE CYCLE YRS | REPAIR/ REPLACE DATES | D O N E | ESTIMATED COST | ACTUAL COST |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SIDEWALKS AND CURBS |  |  |  |  |  |  |  |
| Replace and Repair | 1989 | N/A | 15-20 | 2013 |  | $ 4,000 |  |
|  |  |  |  | 2023 |  | $ 5,000 |  |
|  |  |  |  | 2029 |  | $ 5,000 |  |
|  |  |  |  | 2035 |  | $ 6,000 |  |
| SIGNS AND POSTS |  |  |  |  |  |  |  |
| Replace and/or Repair 8 ft posts @$30 ea; 6 STOP SIGNS @$60 ea 3 SLOW CHILDREN AT PLAY @$60 ea 5 SPEED LIMIT @$50 ea 8 POLICE YOUR DOGS @$50 ea 12 NO PARKING FIRE LANES/TOWING @$40 ea 3 NO TREASPASSING @$60 ea 4 NO DUMPING @$40 ea Costs do not include installation | 1990 | N/A | 5-8 | 2014 |  | $ 700 |  |
|  |  |  |  | 2024 |  | $ 800 |  |
|  |  |  |  | 2034 |  | $ 1,000 |  |
| STORM DRAINS (16) |  |  |  |  |  |  |  |
| Snyder’s Pipe Cleaning (540) 374-9293 Last cleaned 2006 | 1989 | N/A | 5 | 2012 |  | $ 2,000 |  |
|  |  |  |  | 2017 |  | $ 2,100 |  |
|  |  |  |  | 2022 |  | $ 2,300 |  |
|  |  |  |  | 2027 |  | $ 2,500 |  |
|  |  |  |  | 2032 |  | $ 3,000 |  |
|  |  |  |  | 2037 |  | $ 3,200 |  |
| STREETLIGHTS (32) |  |  |  |  |  |  |  |
| Contract Virginia Power Repair/Purchase | 1992 | N/A | 25-30 | 2022 |  | $ 6,000 |  |
|  | 2002 | $ 19,000 |  | 2027 |  | $ 7,000 |  |
| STREET SIGNS (6) |  |  |  |  |  |  |  |
| Double Signs at $130 ea; Poles at $60 ea EUSTACE RD/APPALACHIAN DR APPALACHIAN DR/CABIN CT BLUERIDGE CT/CABIN CT CABIN CT/EATON CT CABIN CT/EUSTACE RD STAUNTON CT/EUSTACE RD Costs do not include installation | 1990 | N/A | 10-15 | 2013 |  | $ 2,000 |  |
|  |  |  |  | 2028 |  | $ 2,500 |  |

30-YEAR PLAN TO MEET THE MAINTENANCE, REPAIR AND REPLACEMENT SCHEDULE

| COMPONENT | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emergencies |  | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 |
| Entrance Sign |  |  |  |  |  |  | 4,500 |  |  |  |  |
| Retention Pond |  |  |  | 30,000 |  |  |  |  |  |  |  |
| Fence |  |  | 200 |  |  |  |  |  | 200 |  |  |
| Postal Units |  |  |  |  |  |  |  |  | 3,000 |  |  |
| Roads | 8,000 |  |  |  | 18,000 | 25,000 | 20,000 | 20,000 | 22,000 |  |  |
| Sidewalks/Curbs |  |  |  | 4,000 |  |  |  |  |  |  |  |
| Signs/Posts |  |  |  |  | 700 |  |  |  |  |  |  |
| Storm Drains |  |  | 2,000 |  |  |  |  | 2,100 |  |  |  |
| Streetlights |  |  |  |  |  |  |  |  |  |  |  |
| Street Signs |  |  |  | 2,000 |  |  |  |  |  |  |  |
| TOTALS | 8,000 | 2,000 | 4,200 | 38,000 | 20,700 | 27,000 | 26,500 | 24,100 | 27,200 | 2,000 | 2,000 |

| COMPONENT | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emergencies | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 |
| Entrance Sign | 200 |  |  |  |  | 300 |  |  |  |  | 300 |
| Retention Pond |  |  |  |  |  |  | 35,000 |  |  |  |  |
| Fence |  |  |  | 3,000 |  |  |  |  |  | 500 |  |
| Postal Units |  | 4,000 |  |  |  |  |  |  |  |  |  |
| Roads |  |  |  |  |  |  |  |  |  |  |  |
| Sidewalks/Curbs |  |  | 5,000 |  |  |  |  |  | 5,000 |  |  |
| Signs/Posts |  |  |  | 800 |  |  |  |  |  |  |  |
| Storm Drains |  | 2,300 |  |  |  |  | 2,500 |  |  |  |  |
| Streetlights |  | 6,000 |  |  |  |  | 7,000 |  |  |  |  |
| Street Signs |  |  |  |  |  |  |  | 2,500 |  |  |  |
| TOTALS | 2,200 | 14,300 | 7,000 | 5,800 | 2,000 | 2,300 | 46,500 | 4,500 | 7,000 | 2,500 | 2,300 |

| COMPONENT | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emergencies | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 | 2,000 |  |
| Entrance Sign |  |  |  |  | 600 |  |  |  |  |
| Retention Pond |  |  |  |  |  |  |  |  |  |
| Fence |  |  |  |  | 400 |  |  |  |  |
| Postal Units |  |  | 4,000 |  |  |  |  |  |  |
| Roads |  |  |  |  |  |  |  |  |  |
| Sidewalks/Curbs |  |  |  | 6,000 |  |  |  |  |  |
| Signs/Posts |  |  | 1,000 |  |  |  |  |  |  |
| Storm Drains | 3,000 |  |  |  |  | 3,200 |  |  |  |
| Streetlights |  |  |  |  |  |  |  |  |  |
| Street Signs |  |  |  |  |  |  |  |  |  |
| TOTALS | 5,000 | 2,000 | 7,000 | 8,000 | 3,000 | 5,200 | 2,000 | 2,000 |  |

Reserve Account Balance August 2012      		       $   21,658.00

Plus Sep-Dec 2012 Deposits minimum @800.00 per mo)		3,200.00

Proposed Deposits 28-Year Period            	     +    391,160.00

at $13,970 deposit per year (1,165.00 per mo)

Estimated Interest 28-Year Period Based              +      8,400.00

on $15,000 Continual Reserve Balance

at 2 percent interest rate

Total Reserve Funds for 28-Yr period                  424,418.00

Total Estimated Costs for 28-Yr period           -    302,300.00

Balance in 2040            +   $ 122,118.00